What is Legionnaires Disease?

Legionnaires' disease is a form of pneumonia. Anybody can catch it; however it is more likely to affect those who are susceptible because of age, illness, immunosuppression (low immunity) or smoking etc.

Most cases have been in people aged between 40 and 70.

There is no evidence to show the disease is contagious and only 200 - 400 cases of Legionnaires’ disease are reported in the UK each year.

This leaflet aims to give you information on what precautions you can take within your home. Please read this leaflet carefully.

Legionnaires’ disease does not appear to multiply below 20°C and will not survive above 60°C.

The area of concern is stagnant water stored between 20°C and 40°C.

How to Prevent Bacteria Breeding in Stagnant water

• If taps in a property are not used for one week or more, each tap should be run or flushed.

• If your property is empty for long periods of time i.e. over two weeks, (this may be due to long hospital admissions, extended holiday periods or any other reason) then the hot and cold taps and shower should be flushed and cleaned; flushing for at least 2 minutes.

• Shower heads should be flushed out on a regular basis.

• Ensure any taps which are not normally used are flushed regularly i.e. outside toilets and taps.

How to Prevent Bacteria Breeding in Lime Scale

• Keep tap and shower heads free from lime scale where possible; if not, flush or use the outlets regularly.

# Text boxes

Risk of Legionnaires Disease Tenants’ Guide to Water Hygiene

Please keep this leaflet for information purposes